## Master Bathroom - Indian Coastal
INDIAN COASTAL MASTER BATHROOM SPECIFICATION
A personal spa retreat — A luxurious, functional, and serene sanctuary for daily rituals, featuring quality fixtures, beautiful materials, smart storage, proper lighting, and a design that transforms routine into relaxation
CATEGORY | ELEMENT | OPTIONS / SPECIFICATIONS | INDIAN COASTAL RECOMMENDATIONS | NOTES / CONSIDERATIONS | SIZE OPTIONS | PRIORITY | STYLE NOTES
VANITY / WASH AREA
| Vanity Style | Single, Double, Floating, Freestanding, Built-in | Floating vanity (modern coastal), Shaker-style cabinet, Weathered wood console, White painted with natural wood top | Floating helps with wet floor cleaning; weathered finishes evoke beachside feel | Single or Double | ESSENTIAL | Light, airy, beach cottage feel
| Vanity Size | 24", 30", 36", 48", 60", 72" width | 36-48" for single, 60-72" for double, Wall-mounted saves floor space | Indian bathrooms often compact; floating vanity creates visual space | Per layout | ESSENTIAL | Scale to room size
| Vanity Height | Standard 32", Comfort 36" | Comfort 36" recommended for modern bathrooms | Standard height in India; comfort height gaining popularity | 36" | Recommended | Comfort height preferred
| Cabinet Construction | Plywood, MDF, Marine plywood, PVC | Marine plywood (moisture-resistant) or quality PVC for coastal humidity | ESSENTIAL: Use water-resistant materials for Indian wet bathrooms | N/A | ESSENTIAL | Moisture-resistance critical
| Cabinet Finish | White painted, Weathered wood, Light oak, Teak | White or off-white painted, Light weathered oak, Natural teak (water-resistant), Driftwood gray finish | White + natural wood top is classic coastal; teak is ideal for Indian humidity | N/A | SIGNATURE | Light finishes, natural wood
| Door/Drawer Style | Shaker, Beadboard, Flat slab, Louvered | Shaker with beadboard panels (very coastal), Louvered doors (beach cottage), Clean flat slab (modern coastal) | Beadboard and louvered are quintessential coastal elements | N/A | SIGNATURE | Beadboard = coastal
| Hardware | Pulls, Knobs - coastal finishes | Brushed nickel, Polished chrome, Rope-wrapped pulls, Brass (beach brass), Shell-shaped knobs | Chrome/Nickel resists hard water spots better than brass | N/A | Recommended | Chrome or weathered brass
| Countertop Material | Quartz, Marble, Granite, Solid surface | White quartz with gray veining, Carrara marble look, Light-colored granite, Solid surface in white/cream | Light colors essential; quartz is low-maintenance for Indian conditions | Per vanity | ESSENTIAL | Light, bright surfaces
| Countertop Edge | Eased, Bullnose, Ogee | Simple eased or soft bullnose edge, Clean lines for modern coastal | Simple edges suit relaxed coastal aesthetic | N/A | Recommended | Simple, unfussy edges
| Backsplash | Full height, 4-6", Tile, Beadboard | White subway tile, Sea glass mosaic, Beadboard panels, Fish scale tile in blue/green | Backsplash is opportunity for coastal color accent | 4-6" to full | SIGNATURE | Coastal pattern opportunity
SINK / BASIN
| Type | Undermount, Vessel, Drop-in, Integrated, Wall-mounted | Undermount (clean look), White vessel sink, Farmhouse/Apron sink (beach cottage) | Undermount is easiest to clean; farmhouse sink very coastal | N/A | ESSENTIAL | White undermount most versatile
| Shape | Rectangular, Oval, Round, Farmhouse | Rectangular undermount, Oval vessel, Classic farmhouse apron | Soft curves feel relaxed and coastal | N/A | Recommended | Soft shapes welcome
| Material | Ceramic, Porcelain, Fireclay, Stone | White ceramic/porcelain, Fireclay farmhouse, Natural stone vessel | White ceramic is classic and easy to maintain | N/A | ESSENTIAL | White ceramic standard
| Color | White, Off-white, Light blue, Natural | Crisp white (primary), Soft cream, Light blue (accent option) | White sinks keep the space bright and clean-looking | N/A | ESSENTIAL | White is coastal default
| Configuration | Single, Double | Single for compact, Double for larger master bath | Per available space and family needs | Per layout | Per space | Scale appropriately
FAUCET
| Style | Single hole, Widespread, Wall-mounted, Bridge | Bridge faucet (very coastal/cottage), Single hole (modern), Widespread (traditional coastal) | Bridge faucets are signature coastal; wall-mount saves counter space | N/A | SIGNATURE | Bridge faucet = coastal charm
| Handle Type | Single lever, Double handle, Cross handle | Cross handles (traditional coastal), Double handles, Porcelain inserts optional | Cross handles evoke nautical/ship wheel aesthetic | N/A | Recommended | Cross handles for authenticity
| Finish | Chrome, Brushed nickel, Polished brass, Bronze | Chrome or Brushed nickel (resists hard water), Polished brass (beach house warmth), Oil-rubbed bronze | Chrome/Nickel best for Indian hard water; brass adds warmth | N/A | SIGNATURE | Chrome or beach brass
| Spout Style | Gooseneck, Bridge, Standard | Gooseneck bridge (signature), Standard with cross handles | Higher spout for vessel sinks and easier washing | N/A | Recommended | Gooseneck bridge iconic
| Features | Hot water mixer, Basic | Mixer with temperature control, Quality construction for hard water areas | Ensure faucet has good filtration/aerator for hard water | N/A | ESSENTIAL | Hard water considerations
MIRROR
| Style | Framed, Frameless, Medicine cabinet, Arched | White-framed coastal, Rope-wrapped round, Natural wood frame, Weathered frame, Arched | Framed mirrors add character; round mirrors very popular in coastal | N/A | ESSENTIAL | Framed or round preferred
| Shape | Rectangular, Round, Oval, Arched, Porthole | Round mirror (very coastal), Oval, Arched (modern coastal), Porthole (nautical accent) | Round mirrors are signature modern coastal; porthole for playful nautical | Match vanity | SIGNATURE | Round = modern coastal
| Frame Material | Wood (white/weathered), Rope, Rattan, Metal | White-painted wood, Rope-wrapped, Rattan, Driftwood, Weathered wood, Wicker | Rope and rattan add texture; white wood is classic | N/A | SIGNATURE | Natural texture frames
| Size | Match or exceed vanity width | Slightly smaller than vanity for framed, Larger for statement | Round mirrors typically 24-36" diameter | Per vanity | Recommended | Scale to vanity
| Features | LED backlit, Demister, Anti-fog | LED backlit (modern option), Anti-fog/Demister essential in humid Indian bathroom | Anti-fog helps in humid climate | N/A | Recommended | Demister for humidity
| Medicine Cabinet | Recessed, Surface-mounted | White-framed medicine cabinet, Recessed for clean look | Useful storage in compact Indian bathrooms | Standard | Recommended | Practical storage
SHOWER
| Type | Enclosed, Walk-in, Wet room | Glass-enclosed shower with wet zone, Separate dry zone important for Indian style | Wet-dry separation is key in Indian bathrooms | Per layout | ESSENTIAL | Wet-dry separation
| Size | 36x36", 48x36", 60x36", Custom | 36x36" minimum, 48x36" preferred for comfort | Size per available space; ensure proper drainage | 36x36" min | ESSENTIAL | Adequate size
| Door/Enclosure | Glass (clear/frosted), Semi-frameless, Frameless | Semi-frameless glass in chrome/nickel, Clear glass to show tile, Frosted for privacy | Glass enclosures keep water contained; chrome frames coordinate with fixtures | N/A | Recommended | Glass enclosure preferred
| Glass Type | Clear, Frosted, Sea glass textured | Clear glass (shows beautiful tile), Light frosted, Sea glass texture for coastal accent | Clear glass keeps room feeling open and bright | N/A | Optional | Clear shows tile work
| Door Style | Sliding, Pivot, Hinged | Sliding (saves space), Pivot for larger openings | Sliding saves space in compact Indian bathrooms | N/A | Recommended | Sliding for space
| Hardware Finish | Chrome, Brushed nickel, Brass | Chrome or Brushed nickel (coordinate with faucets) | Match faucet finish family for cohesion | N/A | Recommended | Coordinate finishes
| Showerhead | Rain, Handheld, Multi-function, Dual | Rain head + Handheld combo (ESSENTIAL for Indian bathing style), Overhead + Handheld setup | Handheld is MUST for Indian bathing habits; rain head adds luxury | N/A | ESSENTIAL | Handheld is mandatory
| Shower System | Mixer, Thermostatic, Diverter | Diverter for rain + handheld, Thermostatic for consistent temperature | Quality mixer/diverter essential | N/A | ESSENTIAL | Diverter system
| Health Faucet | Jet spray, Bidet spray | Chrome or nickel health faucet near WC, Wall-mounted, High-quality spray | MANDATORY in Indian bathrooms; standard requirement | N/A | ESSENTIAL | Indian bathroom essential
| Niche/Shelf | Recessed niche, Corner shelf, Built-in | Tile-lined recessed niches, Multiple niches for storage, Teak corner shelf | Niches with coastal tile accent; teak shelves resist moisture | 2-3 niches | Recommended | Practical storage
| Bench/Seat | Teak, Tile-covered, Folding | Teak shower bench (quintessential coastal), Folding teak seat, Tile-covered built-in | Teak is naturally water-resistant and very coastal | Optional | Recommended | Teak is ideal
BATHTUB
| Type | Freestanding, Alcove, Drop-in | Freestanding soaking tub (luxury), Alcove for space efficiency | Freestanding is statement; alcove practical for Indian homes | Per space | Optional | Space permitting
| Style | Modern oval, Clawfoot, Slipper, Soaking | White freestanding oval (modern coastal), Clawfoot (cottage coastal), Simple soaking | White tubs maintain bright coastal feel | Soak depth | Optional | Classic white tubs
| Material | Acrylic, Cast iron, Stone resin | Acrylic (lightweight, warm), Stone resin (luxe), Cast iron clawfoot (classic) | Acrylic is most practical for Indian homes | N/A | Optional | Acrylic most practical
| Size | 60", 66", 72" length | 60" for compact spaces, 66-72" for luxury | Ensure bathroom can accommodate plus access space | Per space | Optional | Scale to room
| Exterior Finish | White, Color options | Glossy white (classic coastal), Soft blue exterior (accent option) | White is most versatile and coastal | N/A | Optional | White is classic
| Features | Soaking, Air jets | Deep soaking, Simple drain, Optional air jets | Simple is often better; focus on relaxation | N/A | Optional | Simplicity preferred
| Filler | Freestanding, Wall-mounted, Deck-mounted | Freestanding floor filler (chrome/nickel), Wall-mounted with handheld | Floor filler is statement; wall-mount is practical | N/A | Optional | Match shower finish
| Placement | Center, Against wall, Corner | Against wall to maximize space, Under window for light | Window placement for natural light and ventilation | Per layout | Optional | Near natural light
TOILET / WC
| Type | One-piece, Two-piece, Wall-hung | Wall-hung (modern, easy floor cleaning), One-piece (sleek), Two-piece (traditional) | Wall-hung ideal for Indian wet floor cleaning | N/A | ESSENTIAL | Wall-hung recommended
| Style | Elongated, Round | Elongated for comfort | Elongated preferred for master bath | Elongated | ESSENTIAL | Comfort shape
| Height | Standard, Comfort/ADA | Comfort height recommended | Universal design consideration | Comfort | Recommended | Comfort height
| Flush | Dual flush, Single flush | Dual flush for water conservation | Water conservation important in India | Dual flush | ESSENTIAL | Dual flush standard
| Features | Soft-close seat, Concealed tank | Soft-close seat, Concealed tank (wall-hung), Quality Indian/European brand | Invest in quality for longevity | N/A | Recommended | Quality matters
| Color | White | White (standard and coastal) | White keeps bright coastal feel | White | ESSENTIAL | Always white
| Health Faucet Location | Adjacent to WC | Wall-mounted health faucet/jet spray beside WC, Chrome or nickel finish | ESSENTIAL in Indian bathrooms - position for easy reach | N/A | ESSENTIAL | Mandatory in India
FLOOR DRAIN
| Type | Central drain, Multiple drains, Linear | Multiple floor drains for wet floor (ESSENTIAL), Linear drain in shower zone | CRITICAL: Indian bathrooms require full wet floor capability | N/A | ESSENTIAL | Multiple drains required
| Location | Shower + General floor | Drain in shower + additional drain(s) in open floor area | Proper slope towards drain essential | Per layout | ESSENTIAL | Full floor drainage
| Finish | Chrome, Stainless steel | Chrome or stainless steel grate, Tile-insert drain option | Coordinate with other fixtures | N/A | Recommended | Chrome or tile-insert
| Slope | Proper gradient | 1:40 to 1:50 slope towards drain, Waterproofing underneath | CRITICAL: Proper slope prevents water pooling | Per code | ESSENTIAL | Proper gradient
STORAGE
| Vanity Storage | Drawers, Cabinets, Open shelves | Combination drawers + cabinets, Open lower shelf for baskets | Drawers easier to organize than deep cabinets | Per vanity | ESSENTIAL | Drawer preference
| Linen Tower/Cabinet | Tall cabinet, Open shelves, Freestanding | White painted linen cabinet, Open shelving with baskets, Weathered wood tower | Coastal style uses open shelving with woven baskets | Floor to 72" | Recommended | Baskets add coastal feel
| Medicine Cabinet | Recessed, Surface-mount | White or mirrored medicine cabinet, Recessed saves space | Practical storage in compact Indian bathrooms | Standard | Recommended | Essential storage
| Open Shelving | Floating, Bracketed | White or weathered wood floating shelves, Simple brackets, Display with rolled towels | Open shelves for display; styled with coastal accessories | Various | SIGNATURE | Display coastal items
| Niche Storage | Shower niches, Wall niches | Multiple shower niches, Accent tile inside niches | Niches reduce clutter; style with sea glass tile | 3-4 niches | Recommended | Practical + decorative
| Organization | Baskets, Bins, Trays | Woven seagrass baskets, Rattan bins, White trays, Rope-wrapped containers | Woven baskets are essential coastal storage element | Various | SIGNATURE | Woven baskets essential
| Towel Storage | Bar, Ladder, Open shelves | Ladder shelf for towels (very coastal), Open shelving with rolled towels, Rope ladder | Rolled towels displayed on ladder is signature coastal | N/A | SIGNATURE | Ladder display iconic
WALL TREATMENT
| Tile Coverage | Full height, Half height, Accent walls | Full height in wet areas (ESSENTIAL for Indian bathroom), Half height with paint above in dry areas | Full waterproofing in wet zones mandatory | Per area | ESSENTIAL | Full tile in wet zones
| Paint | Moisture-resistant, Matte/Eggshell | White, Soft blue, Seafoam green, Sandy beige - moisture-resistant paint only | Use quality moisture-resistant paint above tile line | Semi-gloss wet, Eggshell dry | Recommended | Moisture-resistant only
| Paint Colors - Option 1 | HEX codes included | Ocean Mist White ¦ #F5F9FA | Crisp, clean, bright coastal base | N/A | ESSENTIAL | Primary wall color
| Paint Colors - Option 2 | HEX codes included | Sea Glass Blue ¦ #A8D5E5 | Soft, soothing ocean blue | N/A | SIGNATURE | Classic coastal accent
| Paint Colors - Option 3 | HEX codes included | Seafoam Green ¦ #9FE2BF | Fresh, tropical, serene | N/A | SIGNATURE | Tropical coastal option
| Paint Colors - Option 4 | HEX codes included | Sandy Beige ¦ #E8DCC4 | Warm sand tone, grounding | N/A | Recommended | Neutral warmth
| Paint Colors - Option 5 | HEX codes included | Driftwood Gray ¦ #B8C4C8 | Weathered, sophisticated coastal | N/A | Optional | Modern coastal
| Paint Colors - Option 6 | HEX codes included | Coral Sunset ¦ #F7CAC9 | Warm accent, sunset inspired | N/A | Optional | Warm accent option
| Wall Panels | Beadboard, Shiplap, Waterproof panels | Beadboard wainscoting (very coastal), Shiplap accent wall, PVC beadboard for wet areas | Beadboard and shiplap are signature coastal wall treatments | N/A | SIGNATURE | Beadboard is essential
| Accent Wall | Feature tile, Shiplap, Pattern | Blue subway tile accent, Fish scale tile feature, Shiplap behind tub | Create focal point with coastal pattern or texture | One wall | SIGNATURE | Coastal focal point
TILE - WALLS
| Material | Ceramic, Porcelain, Glass, Zellige | White ceramic/porcelain (base), Glass mosaic accents, Zellige for character | Anti-skid options for wet areas; glazed for easy cleaning | N/A | ESSENTIAL | Quality ceramic/porcelain
| Size | Subway 3x6", 4x8", Large format, Mosaic | Subway tile 3x6" or 4x8" (quintessential coastal), Large format for modern, Fish scale mosaic | Subway tile is classic beach house; fish scale very coastal | Subway primary | SIGNATURE | Subway tile signature
| Pattern | Stacked, Brick, Herringbone, Vertical | Brick pattern (classic), Herringbone (statement), Vertical stack (modern) | Brick pattern subway is timeless coastal | Brick or stack | Recommended | Brick pattern classic
| Color | White, Soft blue, Seafoam, Sand | White subway (primary), Sea glass blue/green accent, Sandy cream | White base with colored accents in niches or borders | N/A | SIGNATURE | White + blue/green
| Grout Color | White, Light gray, Matching | White or light gray grout (clean coastal look) | White grout keeps bright; gray easier to maintain | White preferred | Recommended | Light grout colors
| Accent Tile | Glass mosaic, Fish scale, Zellige | Sea glass mosaic border, Blue fish scale accent, Zellige in niche | Accent tile in shower niche or border adds coastal pop | Strategic | SIGNATURE | Coastal accent moments
TILE - FLOOR
| Material | Porcelain, Ceramic, Natural stone | Porcelain (durable, low-maintenance), Stone-look porcelain, Light marble-look | MUST be anti-skid for Indian wet bathroom use | N/A | ESSENTIAL | Anti-skid mandatory
| Size | 12x12", 12x24", Large format, Hex, Patterned | Large format 12x24"+ (modern), Hex tile (coastal classic), Pebble in shower | Larger tiles = fewer grout lines = easier cleaning | 12x24" or Hex | Recommended | Large or hex tile
| Pattern | Straight, Offset, Herringbone | Offset/Brick pattern (most common), Straight lay for modern | Simple patterns keep focus on coastal accessories | Offset | Recommended | Simple layouts
| Color | White, Light gray, Sandy, Blue-gray | Light sandy beige, White marble-look, Light gray, Sea-inspired blue-gray | Light floors keep room bright and beachy | N/A | SIGNATURE | Light floor colors
| Texture | Matte, Anti-skid, Textured | Matte anti-skid finish ESSENTIAL, R10/R11 rating for wet areas | CRITICAL: Anti-skid for Indian wet floor bathroom | R10/R11 rated | ESSENTIAL | Anti-skid required
| Heated Floor | Electric, Optional | Optional - generally not needed in Indian climate | May consider in hill stations or cold regions | Optional | Optional | Climate-dependent
| Shower Floor | Small mosaic, Pebble, Anti-skid | Small white hex mosaic, Natural pebble tile, Matching small format anti-skid | Smaller tiles for better drainage slope; pebble is very coastal | Non-slip small | ESSENTIAL | Non-slip small tiles
LIGHTING
| Vanity Lighting | Sconces, Bar light, Backlit mirror | White or chrome sconces flanking mirror, Frosted glass shades, Nautical-inspired lanterns | Sconces at eye level for even face lighting | Pair + height | ESSENTIAL | Flanking sconces
| Overhead | Flush mount, Semi-flush, Recessed | White flush mount, Glass semi-flush, Rattan/Wicker pendant (coastal statement), Recessed can lights | Woven pendant is signature coastal; ensure wet-rating if near water | Center | SIGNATURE | Woven fixtures coastal
| Shower Light | Recessed wet-rated | White recessed LED, Wet-rated (IP65+), Warm white 2700-3000K | Wet-rated ESSENTIAL in shower zone | Per code | ESSENTIAL | Wet-rated required
| Tub Area | Pendant, Chandelier, Recessed | Rattan or wicker pendant (if high ceiling), Crystal chandelier (glamorous coastal) | Statement fixture over tub if ceiling height allows | Per ceiling | Optional | Statement if space
| Night Light | LED strip, Motion sensor | Warm LED strip under vanity or toe-kick, Motion-sensor night light | Useful for nighttime without harsh overhead light | Subtle | Optional | Practical addition
| Natural Light | Window, Skylight, Ventilator | Maximize natural light (essential coastal element), Frosted glass for privacy, Window above door | Coastal design emphasizes bright natural light | Maximize | ESSENTIAL | Bright and airy
| Color Temperature | 2700K-3000K warm | Warm white 2700K for relaxation, 3000K for task areas | Warm light enhances coastal color palette | 2700-3000K | ESSENTIAL | Warm white light
| Dimming | All fixtures dimmable | Dimmers on main lights for mood flexibility | Essential for spa-like experience | All | Recommended | Mood flexibility
WINDOW TREATMENT
| Privacy | Frosted glass, Shade, Curtain | Frosted/Privacy glass (maintenance-free), Roman shade, Café curtain | Frosted glass ideal for Indian humidity; no maintenance | N/A | ESSENTIAL | Frosted glass ideal
| Blinds/Shades | Roman, Bamboo, Roller | White Roman shade, Bamboo/Woven wood shade (very coastal), Moisture-resistant roller | Bamboo blinds are quintessential coastal; ensure moisture-resistance | Per window | SIGNATURE | Woven/Bamboo shades
| Curtain | Café, Sheer, Linen | White linen café curtain, Sheer panels, Light blue/stripe options | Light, airy fabrics; café curtains for privacy + light | Light fabrics | Optional | Breezy fabrics
| Plantation Shutters | Moisture-resistant | White plantation shutters (moisture-resistant composite/PVC) | Plantation shutters are very coastal if moisture-resistant | N/A | Optional | Classic coastal option
| No Treatment | Frosted glass, High window | If window is frosted or high, no treatment needed | Many Indian bathrooms have small high windows | N/A | Optional | If privacy glass
VENTILATION
| Exhaust Fan | Powerful CFM, Humidity sensor | Powerful exhaust (2x standard CFM for Indian humidity), Humidity sensor auto-on | CRITICAL: High humidity in India requires excellent ventilation | 1.5-2x CFM | ESSENTIAL | Over-ventilate
| Fan Style | Recessed, With light, Decorative | Recessed (quiet, hidden), Combined light + exhaust | Quiet operation important | N/A | Recommended | Quiet operation
| Window Ventilation | Operable window, Ventilator | Operable window if possible, High-level ventilator for cross-ventilation | Natural ventilation highly valued in Indian climate | If available | ESSENTIAL | Natural air flow
| Timer/Sensor | Humidity sensor, Timer | Humidity sensor auto-on essential, 20-30 min timer after use | Auto-on with humidity sensor prevents mold | Sensor | ESSENTIAL | Auto humidity sensing
HEATED ELEMENTS
| Floor Heating | Electric mat | Not typically needed in Indian climate | Consider only for hill station homes | N/A | Optional | Climate-dependent
| Towel Warmer | Wall-mounted, Ladder style | Chrome towel warmer (functional + stylish), Ladder style (very coastal) | Nice luxury but not essential in Indian climate | N/A | Optional | Luxury addition
| Water Heater | Geyser, Instant, Storage | Storage geyser 15-25L (standard Indian), Instant for shower zone, Quality brand | Standard in Indian bathrooms; position for easy access but aesthetic consideration | 15-25L | ESSENTIAL | Essential in India
| Geyser Placement | Hidden, Visible | Concealed in false ceiling or cabinet if possible, Coordinate visible geyser color | Try to conceal or minimize visual impact | N/A | Recommended | Conceal if possible
ACCESSORIES - HARDWARE
| Towel Bar | 24", 30", Double bar | Chrome or brushed nickel towel bar, Double bar for his/hers, Rope-wrapped accent | Match faucet finish; rope detail adds coastal touch | 24-30" | ESSENTIAL | Coordinate finishes
| Towel Ring | Near vanity | Chrome or nickel ring, Rope or rattan detail optional | Place near vanity for hand towel | N/A | Recommended | Convenient placement
| Robe Hooks | Multiple, Decorative | Chrome hooks, Nautical hooks (anchor, shell), Rope-wrapped | Nautical-themed hooks add coastal character | 3-4 hooks | SIGNATURE | Nautical accents
| TP Holder | Chrome, Covered | Chrome recessed or covered holder (for humid bathroom) | Covered holder keeps TP dry in humid Indian bathroom | N/A | ESSENTIAL | Covered for humidity
| Health Faucet Holder | Wall-mounted | Chrome holder for jet spray, Positioned for easy reach from WC | Standard requirement in Indian bathrooms | N/A | ESSENTIAL | Essential in India
| Toilet Brush | Concealed, Chrome | Concealed holder or matching chrome set | Keep concealed for aesthetics | N/A | ESSENTIAL | Hidden or matching
| Hardware Finish | Chrome, Brushed nickel, Brass | Chrome or brushed nickel (best for hard water), Beach brass accent pieces | Consistent finish throughout; chrome/nickel practical | Coordinate | ESSENTIAL | Chrome or nickel
ACCESSORIES - VANITY
| Soap Dispenser | Ceramic, Glass, Chrome | White ceramic dispenser, Sea glass blue, Chrome pump | Coordinate with overall coastal palette | N/A | Recommended | White or blue ceramic
| Toothbrush Holder | Ceramic, Chrome cup | White ceramic holder, Chrome cup, Nautical themed | Match soap dispenser style | N/A | Recommended | Coordinate set
| Tumbler/Cup | Ceramic, Glass | White or sea glass colored tumbler | Part of coordinated bathroom set | N/A | Optional | Matching set
| Vanity Tray | Rattan, White ceramic, Wood | Rattan tray, White wooden tray, Driftwood tray | Corrals vanity items neatly | N/A | Recommended | Woven or white tray
| Cotton/Q-tip Container | Glass jar, Ceramic | Apothecary jar, White ceramic pot, Sea glass jar | Keep covered for hygiene in humid climate | N/A | Optional | Covered containers
| Plants | Humidity-loving | Pothos, Fern, Orchid, Air plants, Snake plant in white or woven pot | Plants add life; choose humidity-loving varieties | 1-3 plants | Recommended | Tropical plants
ACCESSORIES - BATH/SHOWER
| Shower Caddy | Built-in niche, Teak shelf, Hanging | Tile niches (preferred), Teak corner shelf, Chrome caddy | Built-in niches reduce clutter; teak is coastal | Multiple niches | Recommended | Niches preferred
| Bath Tray/Caddy | Teak, Bamboo, White wood | Teak bath tray (quintessential coastal), Bamboo caddy | Teak is naturally water-resistant and beachy | Span tub | Optional | Teak is perfect
| Bath Pillow | White, Waterproof | White waterproof pillow, Simple and clean | Adds comfort to bathing experience | 1 | Optional | Spa addition
| Loofah/Sponge | Natural | Natural loofah, Sea sponge, Sisal brush | Natural textures add coastal feel | N/A | Optional | Natural textures
| Bucket/Mug | Traditional Indian | Matching white/blue plastic set OR integrated into design if traditional bathing preferred | Consider if household prefers bucket bathing style | N/A | Optional | If traditional bathing
TEXTILES
| Bath Towels | Quality cotton, Coastal colors | White (classic coastal), Soft blue, Seafoam, Sandy neutral, Stripe patterns | White towels are quintessential coastal; stripes add character | 6+ per person | SIGNATURE | White or coastal stripes
| Hand Towels | Coordinating | Match bath towels, Lighter accent colors | Visible at vanity so coordinate nicely | 4-6 | Recommended | Coordinate with bath
| Washcloths | Matching set | Same color family as towels | Complete the set | 6+ per person | Recommended | Match towels
| Bath Mat | Cotton, Quick-dry | White or blue bath mat, Quick-dry cotton, Machine washable | Quick-dry essential for Indian wet bathroom; washable important | 2-3 | ESSENTIAL | Quick-dry essential
| Shower Curtain | If applicable | White with blue pattern, Stripe, Solid white waffle weave | If shower curtain instead of glass; coastal patterns | Long length | Optional | If curtain used
| Bathrobes | White cotton, Turkish | White Turkish cotton robe, Light blue option | Display on coastal hook | Per person | Optional | Spa luxury
MIRROR - FULL LENGTH
| Placement | Wall or door | Wall-mounted or door-mounted | If space allows in dressing area | N/A | Optional | Space permitting
| Frame | White, Weathered wood, Rope | White-painted wood frame, Weathered wood, Rope-wrapped | Coastal frame materials | N/A | Recommended | Coastal frame
| Style | Leaning, Wall-mounted | Leaning for casual coastal feel, Wall-mounted if space limited | Leaning adds relaxed beach house feel | Full length | Optional | Casual placement
SEATING
| Vanity Stool | White, Woven seat, Coastal | White painted stool, Woven seat cushion, Rope-wrapped legs | If makeup/vanity area | Per space | Optional | Coastal stool
| Tub-side Stool | Teak, White | Teak shower stool, White painted accent table | Holds candles, book, wine for tub time | Small | Optional | Teak preferred
| Shower Bench | Teak, Built-in tiled | Teak folding seat (quintessential coastal), Tile-covered built-in | Teak is water-resistant and very coastal | Per shower | Recommended | Teak is ideal
PLANTS
| Varieties | Humidity-loving, Tropical | Pothos (trailing), Fern (Boston, Maidenhair), Orchid, Snake plant, Spider plant, Peace lily | Tropical plants thrive in bathroom humidity and suit coastal theme | 3-5 plants | SIGNATURE | Tropical greenery
| Placement | Counter, Shelf, Window, Hanging | On vanity, Floating shelves, Window sill, Hanging planter | Greenery adds life and tropical coastal feel | Various | SIGNATURE | Throughout bathroom
| Planters | White ceramic, Woven, Terracotta | White ceramic pots, Woven seagrass covers, Terracotta, Rope-wrapped | White and woven planters suit coastal style | Various | SIGNATURE | Coastal containers
| Hanging Plants | Macramé, Wall-mounted | White macramé hangers, Wall-mounted planters, Trailing pothos | Vertical greenery adds tropical feel | 1-2 | Recommended | Trailing plants
STYLE NOTES
| Overall Mood |  | A bright, airy, beachside sanctuary that combines the relaxed elegance of coastal living with the practical requirements of Indian bathroom design — where white and blue meet tropical greenery for a serene spa escape.
| Key Principle 1 |  | Light and Bright: White is the foundation. Use plenty of white with soft blue, green, and sandy accents to create an airy, beach-inspired space. |  |  | ESSENTIAL
| Key Principle 2 |  | Natural Materials: Teak, rattan, woven baskets, and natural textures bring the coastal feel. Teak is especially practical for Indian humidity. |  |  | SIGNATURE
| Key Principle 3 |  | Beadboard and Shiplap: These wall treatments are quintessential coastal — use in wainscoting or accent walls. |  |  | SIGNATURE
| Key Principle 4 |  | Subway Tile: White subway tile is the classic coastal wall treatment. Add fish scale or sea glass accents for character. |  |  | SIGNATURE
| Key Principle 5 |  | Chrome/Nickel Finishes: Best for Indian hard water conditions; beach brass adds warmth but requires more maintenance. |  |  | ESSENTIAL
| Key Principle 6 |  | Woven Storage: Seagrass and rattan baskets for storage are essential coastal elements. Display rolled towels on ladder shelves. |  |  | SIGNATURE
| Key Principle 7 |  | Indian Bathroom Essentials: Health faucet, proper floor drainage, anti-skid tiles, excellent ventilation — non-negotiable requirements. |  |  | ESSENTIAL
| Key Principle 8 |  | Tropical Plants: Humidity-loving plants thrive in Indian bathrooms and add tropical coastal character. Include ferns, pothos, and orchids. |  |  | SIGNATURE
| Spa Experience |  | The Indian coastal spa combines the tranquility of seaside living with tropical warmth — imagine morning light filtering through bamboo blinds, the fresh scent of eucalyptus, soft white towels, and the calming palette of ocean and sand.
| Practical Notes |  | Prioritize moisture-resistant materials (marine plywood, PVC beadboard). Ensure excellent ventilation for Indian humidity. Chrome fixtures resist hard water. Anti-skid flooring is mandatory.
| What to Avoid |  | Avoid: Dark colors that absorb light, Glossy slippery floors, Non-moisture-resistant materials, Kitsch nautical decor (anchors overload, too many shells), Heavy fabrics, Poor ventilation, Chrome that will spot from hard water

## Item Checklist
INDIAN COASTAL MASTER BATHROOM - 3D RENDER ITEM CHECKLIST
CATEGORY | ITEM | INCLUDE? | PRIORITY | NOTES
VANITY / WASH AREA | Floating/Shaker Vanity (White) | YES | ESSENTIAL | Marine plywood, moisture-resistant
| Beadboard/Louvered Door Panels | YES | SIGNATURE | Quintessential coastal detail
| White Quartz/Marble-look Counter | YES | ESSENTIAL | Light, bright surface
| Chrome/Nickel Hardware | YES | Recommended | Hard water resistant
| White Subway Tile Backsplash | YES | SIGNATURE | Classic coastal
SINK / BASIN | White Undermount/Vessel Sink | YES | ESSENTIAL | Clean, bright look
| Farmhouse/Apron Sink | Optional | SIGNATURE | Beach cottage feel
FAUCET | Chrome/Nickel Bridge Faucet | YES | SIGNATURE | Classic coastal style
| Cross Handles | YES | Recommended | Nautical-inspired
MIRROR | Round Rope/Rattan Mirror | YES | SIGNATURE | Modern coastal favorite
| White-Framed Mirror | Optional | Recommended | Classic alternative
| Anti-Fog/Demister Feature | YES | Recommended | For Indian humidity
SHOWER - ENCLOSURE | Semi-Frameless Glass (Chrome) | YES | Recommended | Contains water, shows tile
SHOWER - FIXTURES | Rain Showerhead + Handheld | YES | ESSENTIAL | Handheld mandatory in India
| Chrome/Nickel Finish | YES | ESSENTIAL | Coordinate all fixtures
| Diverter System | YES | ESSENTIAL | For rain + handheld
SHOWER - INDIAN SPECIFICS | Health Faucet/Jet Spray | YES | ESSENTIAL | MANDATORY in Indian bathroom
| Floor Drain (Multiple) | YES | ESSENTIAL | Full wet floor capability
| Proper Floor Slope | YES | ESSENTIAL | 1:40-1:50 gradient
SHOWER - NICHE/BENCH | Tiled Recessed Niches (2-3) | YES | Recommended | Sea glass accent tile inside
| Teak Shower Bench/Seat | YES | SIGNATURE | Quintessential coastal
BATHTUB | White Freestanding Tub | Optional | Optional | If space allows
TUB FILLER | Chrome Floor-Mount Filler | Optional | Optional | Match other fixtures
TOILET / WC | Wall-Hung Modern WC | YES | ESSENTIAL | Easy floor cleaning
| Dual Flush System | YES | ESSENTIAL | Water conservation
| Soft-Close Seat | YES | Recommended | Quality feature
| Health Faucet Adjacent | YES | ESSENTIAL | Within reach of WC
FLOOR DRAIN | Chrome/Tile-Insert Drains | YES | ESSENTIAL | Multiple for wet floor
STORAGE - VANITY | Drawer + Cabinet Combination | YES | ESSENTIAL | Practical storage
STORAGE - LINEN | White Linen Cabinet/Shelves | YES | Recommended | Open shelves + baskets
| Seagrass/Rattan Baskets | YES | SIGNATURE | Essential coastal storage
STORAGE - DISPLAY | Ladder Shelf for Towels | YES | SIGNATURE | Rolled towel display
| Floating White Shelves | YES | SIGNATURE | Display coastal items
WALL TILE | White Subway Tile (Wet Areas) | YES | SIGNATURE | Classic coastal
| Fish Scale/Sea Glass Accent | YES | SIGNATURE | Blue/green coastal accent
| Light Grout Color | YES | Recommended | White or light gray
WALL TREATMENT | Beadboard Wainscoting | YES | SIGNATURE | Quintessential coastal
| Shiplap Accent Wall | Optional | SIGNATURE | Behind tub or feature wall
| Moisture-Resistant Paint | YES | ESSENTIAL | Above tile line
FLOOR TILE | Light Porcelain (Anti-Skid) | YES | ESSENTIAL | R10/R11 rating mandatory
| Hex Tile Option | Optional | SIGNATURE | Classic coastal floor
| Pebble Tile in Shower | Optional | SIGNATURE | Beach feel
LIGHTING - VANITY | Chrome/White Sconces | YES | ESSENTIAL | Flanking mirror
| Nautical Lantern Style | Optional | SIGNATURE | Coastal character
LIGHTING - OVERHEAD | Woven/Rattan Pendant | YES | SIGNATURE | Coastal statement
| Recessed Can Lights | YES | Recommended | General illumination
LIGHTING - SHOWER | Wet-Rated Recessed (IP65) | YES | ESSENTIAL | Safety requirement
WINDOW TREATMENT | Bamboo/Woven Wood Shade | YES | SIGNATURE | Quintessential coastal
| Frosted Privacy Glass | Optional | Recommended | Maintenance-free option
| White Plantation Shutters | Optional | Optional | Moisture-resistant
VENTILATION | Powerful Exhaust Fan | YES | ESSENTIAL | 1.5-2x CFM for India
| Humidity Sensor Auto-On | YES | ESSENTIAL | Prevents mold
| Operable Window | YES | ESSENTIAL | Natural ventilation
WATER HEATER | Storage Geyser (15-25L) | YES | ESSENTIAL | Standard in India
| Concealed Placement | YES | Recommended | In false ceiling if possible
HARDWARE | Chrome Towel Bar | YES | ESSENTIAL | Match faucets
| Nautical Robe Hooks | YES | SIGNATURE | Anchor/Shell themed
| Covered TP Holder | YES | ESSENTIAL | For humid bathroom
| Health Faucet Holder | YES | ESSENTIAL | Chrome wall-mount
VANITY ACCESSORIES | White/Blue Ceramic Set | YES | Recommended | Soap, toothbrush holder
| Rattan Vanity Tray | YES | SIGNATURE | Coastal organization
BATH ACCESSORIES | Teak Bath Tray | Optional | SIGNATURE | If tub present
| Natural Loofah/Sponge | YES | Recommended | Natural textures
TEXTILES | White/Blue Striped Towels | YES | SIGNATURE | Classic coastal
| Quick-Dry Bath Mat | YES | ESSENTIAL | For wet floor use
| Rolled Towel Display | YES | SIGNATURE | On ladder shelf
PLANTS | Pothos/Fern/Orchid | YES | SIGNATURE | Tropical humidity-lovers
| White Ceramic Planters | YES | SIGNATURE | Coastal containers
| Seagrass Planter Covers | YES | SIGNATURE | Woven texture
| Hanging Macramé Planter | Optional | Recommended | Trailing plants
SEATING | Teak Shower Stool | YES | Recommended | Water-resistant, coastal
ART/DECOR | Coastal Artwork (Subtle) | Optional | Optional | Beach scenes, not kitschy
| Seashell Accents (Minimal) | Optional | Optional | In moderation
| Sea Glass Jar Display | Optional | Optional | Collected beach glass

## Shutter Finish Summary
INDIAN COASTAL MASTER BATHROOM - 40 SHUTTER/FINISH COMBINATIONS
# | FINISH COMBINATION | VANITY | STORAGE/CABINET | PRICE | RATING | STYLE DESCRIPTION
WHITE/LIGHT PAINTED
1 | Classic Coastal White | Pure white painted shaker vanity | White linen cabinet with baskets | Mid | ★★★★★ | Quintessential beach house, bright and clean
2 | Soft White Beadboard | White beadboard panel vanity | White beadboard cabinet doors | Mid | ★★★★★ | Classic cottage coastal with texture
3 | Antique White | Off-white/Cream painted vanity | Matching antique white storage | Mid | ★★★★☆ | Warmer white, slightly aged look
4 | White with Chrome Trim | White vanity, chrome hardware | White cabinet, chrome pulls | Mid | ★★★★★ | Modern coastal, sleek and bright
5 | Louvered White | White louvered door vanity | Louvered white linen cabinet | Premium | ★★★★★ | Beach cottage shuttered look
6 | Shiplap White | White shiplap panel vanity | Shiplap-style cabinet doors | Premium | ★★★★★ | Modern farmhouse coastal
7 | Glossy White Lacquer | High-gloss white vanity | Glossy white storage | Premium | ★★★★☆ | Contemporary coastal, reflective
NATURAL WOOD TONES
8 | Distressed White | White with weathered finish | Distressed white shelving | Mid | ★★★★☆ | Aged, beachy, relaxed feel
9 | Natural Teak | Natural teak vanity (sealed) | Teak open shelving | Premium+ | ★★★★★ | Water-resistant, spa-like, premium
10 | Light Oak Coastal | Light whitewashed oak vanity | Light oak floating shelves | Premium | ★★★★★ | Scandinavian coastal, bright wood
11 | Weathered Driftwood | Gray weathered wood finish | Driftwood-style shelving | Mid | ★★★★★ | Beach-worn, textured, coastal
12 | Honey Maple | Light honey maple vanity | Maple storage cabinet | Mid | ★★★★☆ | Warm, natural, inviting
TWO-TONE WHITE + WOOD
13 | Bleached Pine | Very light bleached pine | Bleached pine shelves | Budget | ★★★☆☆ | Light, casual, budget-friendly
14 | Bamboo Natural | Natural bamboo vanity | Bamboo storage pieces | Mid | ★★★★☆ | Tropical coastal, sustainable
15 | White + Teak Top | White base, natural teak top | White cabinet, teak shelves | Premium | ★★★★★ | Best of both worlds, very coastal
16 | White + Light Oak | White base, light oak counter | White storage, oak accents | Premium | ★★★★★ | Modern coastal balance
17 | White + Driftwood Gray | White base, driftwood top | White + driftwood mixed | Mid | ★★★★★ | Beachy, weathered contrast
COASTAL BLUES
18 | White Shaker + Walnut | White shaker, walnut counter | White cabinet, walnut interior | Premium | ★★★★☆ | Rich contrast, sophisticated
19 | Cream + Natural Wood | Cream painted, natural top | Cream storage, wood accents | Mid | ★★★★☆ | Warm, inviting coastal
20 | White + Bamboo Accents | White vanity, bamboo trim | White with bamboo details | Mid | ★★★★☆ | Tropical touch on classic white
21 | Soft Sea Glass Blue | Pale blue-green painted vanity | White linen cabinet | Mid | ★★★★★ | Classic ocean-inspired, serene
22 | Navy + White | Navy blue vanity | White upper storage | Mid | ★★★★★ | Bold nautical, striking contrast
COASTAL GREENS
23 | Powder Blue Cottage | Soft powder blue shaker | Matching blue linen tower | Mid | ★★★★☆ | Sweet, cottage coastal
24 | Turquoise Accent | White vanity, turquoise interior | White cabinet, turquoise back | Mid | ★★★★☆ | Pop of tropical color
25 | Coastal Blue-Gray | Muted blue-gray vanity | Blue-gray floating shelves | Mid | ★★★★★ | Sophisticated, modern coastal
WARM NEUTRALS
26 | Aqua + White Stripe | Aqua and white striped detail | White with aqua accents | Premium | ★★★★☆ | Playful, beach umbrella inspired
27 | Seafoam Green | Soft seafoam painted vanity | White storage cabinets | Mid | ★★★★★ | Fresh, ocean-inspired, calming
28 | Sage Coastal | Muted sage green vanity | Sage + white combination | Mid | ★★★★☆ | Earthy coastal, botanical feel
MIXED MATERIAL COASTAL
29 | Eucalyptus Green | Soft eucalyptus green | White linen cabinet | Mid | ★★★★☆ | Spa-like, fresh, natural
30 | Mint + White | Mint green accents on white | White with mint interior | Mid | ★★★★☆ | Fresh, clean, tropical
31 | Sandy Beige | Warm sandy beige vanity | Matching beige storage | Budget | ★★★★☆ | Beach sand inspired, grounding
SPECIAL/PREMIUM
32 | Driftwood Greige | Gray-beige (greige) finish | Greige floating shelves | Mid | ★★★★☆ | Modern neutral, sophisticated
33 | Warm Taupe | Soft taupe painted vanity | Taupe + white combination | Mid | ★★★☆☆ | Warm, subtle, versatile
34 | Coastal Cream + Rope | Cream vanity, rope hardware | Cream cabinet, rope pulls | Mid | ★★★★☆ | Nautical texture accent
35 | White + Woven Rattan | White vanity, rattan doors | Rattan-front linen cabinet | Premium | ★★★★★ | Tropical coastal texture
36 | Teak + White Accent | Teak frame, white panels | Mixed teak and white | Premium+ | ★★★★★ | Luxury resort coastal
37 | Bamboo + White Lacquer | White lacquer, bamboo trim | Bamboo accents on white | Premium | ★★★★☆ | Asian coastal fusion
38 | Shiplap + Chrome | White shiplap doors, chrome | Shiplap cabinet, chrome pulls | Mid | ★★★★★ | Modern farmhouse coastal
39 | Resort Spa Premium | Teak + white marble-look | Teak and glass storage | Premium+ | ★★★★★ | 5-star resort inspiration
40 | Maldives Overwater Style | White + natural materials mix | Open natural shelving | Premium+ | ★★★★★ | Tropical island luxury retreat