## Kitchen - Modern Indian
MODERN INDIAN KITCHEN SPECIFICATION
Contemporary • Modular • Smart Storage • High-Gloss • Functional Elegance
Category | Element | Primary Options | Alternative Options | Specifications | Notes
CABINETRY - BASE CABINETS
| Door Style | Handle-less flat panel (push-to-open), J-profile edge pull | Slim shaker, Grooved panel, Glass front accent | Overlay: Full overlay ¦ Construction: Frameless/European | Handle-less creates sleek modern look
| Drawer Configuration | Tandem drawers, Deep pan drawers, Cutlery organizers | Corner carousel, Magic corner, Pull-out bottle racks | Soft-close all drawers ¦ Full extension runners | Maximize every inch with smart fittings
| Hardware | Integrated J-pull/G-pull, Push-to-open (tip-on) | Slim bar handles (matte black/chrome), Recessed pulls | Length: Full width J-pull or 160-320mm handles | Minimal hardware = maximum impact
| Finish | High-gloss acrylic/lacquer, Matte laminate, PU finish | Anti-fingerprint matte, Wood grain laminate, Glass finish | Moisture-resistant: BWP/BWR grade ¦ 1mm ABS edge | High-gloss popular but shows fingerprints
CABINETRY - WALL CABINETS
| Glass Options | Frosted glass, Fluted/reeded glass, Back-painted glass | Profile glass, Clear glass with LED, Aluminum frame glass | Thickness: 4-5mm toughened ¦ Aluminum frame | LED-lit glass cabinets very trendy
| Open Shelving | Floating shelves with LED, Metal bracket system | Glass shelves, Backlit niches, Display boxes | Depth: 200-300mm ¦ LED strip underneath | Open shelving for display, closed for storage
| Lift-up Systems | Servo-drive lift-up, Aventos HF bi-fold, Aventos HL | Parallel lift, Standard flap with stay | Height: 350-500mm ¦ Blum/Hettich fittings | Lift-up systems for overhead accessibility
CABINETRY - TALL CABINETS
| Pantry | Pull-out larder unit, Tandem pantry, Tall pull-out | Swing-out pantry, Rotating carousel pantry | Height: 2100-2400mm ¦ Width: 450-600mm | Pull-out pantries best for Indian spices
| Appliance Towers | Built-in oven + microwave tower, Integrated fridge panel | Concealed appliance garage, Pocket door cabinet | Standard: 600mm width ¦ Custom heights | Stack appliances for ergonomic access
| Utility Tower | Broom/mop storage, Cleaning supplies unit | Pull-out ironing board, Ladder storage | Width: 300-450mm ¦ Internal fittings | Dedicated utility storage essential
CABINETRY - ISLAND
| Style | Waterfall edge island, Cantilevered breakfast bar | Two-tier island, Curved island, Mobile island | Size: 1200-1800mm L x 600-900mm W | Island as focal point and work center
| Waterfall Edge | Full waterfall both sides, Single side waterfall | Mitered waterfall, Contrasting waterfall material | Seamless joint or contrasting insert | High-impact design element
| Seating | Cantilevered counter overhang, Breakfast bar tier | Integrated dining extension, Pull-out table | Overhang: 300-400mm ¦ Height: 900-1050mm | Counter height or bar height options
| Storage | Deep drawers, Open display niches, Wine cooler | Sink integration, Cooktop integration, Charging station | Drawer depth: 500-600mm | Functional storage below seating
COUNTERTOPS
| Material - Primary | Engineered quartz (Caesarstone, Silestone, Kalinga) | Solid surface (Corian, HI-MACS), Sintered stone (Dekton) | Thickness: 20mm standard, 30mm premium | Quartz most popular for Indian kitchens
| Material - Secondary | Granite (Black Galaxy, Steel Grey, Alaska White) | Nano white glass, Compact laminate (Fenix) | Thickness: 18-20mm granite ¦ 12mm compact | Granite still preferred for budget options
| Edge Profiles | Straight/eased edge, 45° mitered edge, Pencil round | Beveled edge, Waterfall mitered, Bullnose | Modern: Straight ¦ Avoid ornate ogee | Sharp edges suit modern aesthetic
| Color Palette | Pure white, Calacatta pattern, Statuario pattern | Charcoal gray, Black with veining, Concrete look | Neutral base, pattern for interest | White quartz with veining most popular
BACKSPLASH
| Tile Shape - Primary | Large format tiles (600x1200mm), Subway (stacked) | Hexagon, Chevron, Fish scale accent | Size: Larger = fewer grout lines | Large format for seamless modern look
| Tile Shape - Accent | Moroccan pattern behind hob, Geometric feature | 3D textured tiles, Metallic mosaic strip | Feature wall 600-900mm zone | One accent area maximum
| Materials | Porcelain large format, Back-painted glass | Sintered stone slab, Mirror, Stainless steel | 6-10mm thickness ¦ Rectified edges | Glass backsplash very easy to clean
| Grout Color | Matching/minimal contrast, Epoxy grout | Charcoal for white tiles, White for dark tiles | Width: 1.5-2mm ¦ Epoxy essential | Epoxy grout mandatory for Indian cooking
| Pattern Layouts | Slab look (minimal joints), Stacked horizontal | Running bond, Herringbone accent, Book-matched | Full height (counter to cabinet) standard | Extend full height for easy cleaning
HARDWARE
| Handle Styles | Integrated J-pull, G-profile, Gola profile | Slim bar handles (10-12mm), Recessed finger pull | Full-width on drawers, vertical on doors | Profile handles most popular modern choice
| Finish Options - Primary | Matte black, Brushed nickel, Champagne gold | Rose gold, Gunmetal gray, Stainless steel | PVD coating for durability | Matte black trending strongly
| Finish Options - Secondary | Matching cabinet color (integrated) | Brass accent, Copper accent, Bronze | Consistent finish throughout | One metal finish for cohesion
| Placement | J-pull at top edge, Bar pulls horizontal on drawers | Centered on doors, Upper edge alignment | Consistent height: 30-50mm from top | Precision placement essential
SINK & FAUCET
| Sink Type - Primary | Undermount single bowl (large), Undermount double bowl | Flush-mount, Workstation sink with accessories | Size: 750-850mm single, 900-1100mm double | Large single bowl preferred for Indian vessels
| Sink Type - Secondary | Small bar sink, Vegetable prep sink | Integrated drainboard sink | Size: 400-500mm prep sink | Second sink for wet kitchen zone
| Sink Materials | Stainless steel 304 grade, Granite composite (Franke) | Quartz composite (Carysil), Ceramic | SS: 1.2mm thickness, 18/10 grade | Granite composite gaining popularity
| Faucet Style | Pull-down spray, Single lever contemporary | Touchless sensor, Pot filler (wall-mount) | Height: 350-450mm ¦ 360° swivel | Pull-down essential for Indian cooking
| Faucet Finish | Chrome, Matte black, Brushed nickel | PVD gold, Stainless steel, Gunmetal | Match hardware finish | Matte black faucets very trendy
APPLIANCES
| Hob/Cooktop | Built-in gas hob (4-5 burner), Induction cooktop | Hybrid (gas + induction), Domino hobs | Size: 60-90cm ¦ High BTU brass burners | Indian cooking needs high flame
| Hob Features | Auto-ignition, Flame failure device, Cast iron supports | Timer, Child lock, Residual heat indicator | FFD mandatory for safety | Toughened glass or SS top
| Chimney/Hood | Wall-mount chimney (filterless), Island chimney | Built-in hood, Downdraft, Ceiling mount | Suction: 1200-1500 m³/hr minimum | Filterless auto-clean essential for Indian cooking
| Oven & Microwave | Built-in convection oven, Built-in microwave | Combination oven, Steam oven, OTG | Standard: 60cm width ¦ Capacity: 60-70L oven | Eye-level installation for convenience
| Refrigerator | Side-by-side, French door, Bottom freezer | Built-in/integrated, Counter-depth | Capacity: 550-700L for Indian families | Counter-depth for flush look
| Dishwasher | Built-in fully integrated, Semi-integrated | Drawer dishwasher, Countertop compact | Capacity: 12-14 place settings ¦ Half-load | Increasing adoption in urban India
LIGHTING
| Pendant Lights | Linear LED pendant over island, Cluster pendants | Single statement pendant, Track with pendants | Height: 750-900mm above island | Statement lighting over island
| Pendant Styles | Geometric metal, Smoked glass globe, Linear bar | Minimalist cylinder, Sculptural modern | Scale: Pendant width 2/3 of island | Contemporary shapes, clean lines
| Under-Cabinet | LED strip (3000-4000K), LED profile channel | Puck lights, Linear bar lights | 4000K for task ¦ CRI 90+ ¦ Dimmable | Essential task lighting for prep
| Recessed Lighting | 4" canless LED throughout, Gimbal adjustable | Linear recessed, Slot lighting | Spacing: 4-5 feet ¦ 3000-4000K | Even ambient illumination
| Cabinet Lighting | In-cabinet LED strips, Glass cabinet backlighting | Plinth/kick lighting, Drawer interior lights | Motion sensor activation | Enhances modern aesthetic
| Color Temperature | 4000K for task areas (neutral white) | 3000K for ambient/dining zones | Tunable white for flexibility | Cooler than traditional styles
FLOORING
| Material - Primary | Vitrified tiles (large format 800x1600mm) | Italian porcelain, Indian marble (Makrana, Kishangarh) | Thickness: 9-12mm ¦ Rectified ¦ Anti-skid R10 | Large format tiles for seamless look
| Material - Secondary | Luxury vinyl tile (LVT), Engineered wood | Granite flooring, Terrazzo, Kota stone | LVT: 4-5mm ¦ Engineered: 14-15mm | Wood-look tiles popular alternative
| Patterns | Single large format, Book-matched marble | Herringbone wood-look, Geometric pattern | Minimal grout lines preferred | Continuity with living spaces
| Color Recommendations | Light gray, Warm beige, White marble look | Charcoal, Wood tones, Statuario pattern | HEX: #E5E5E5, #D4C4B5, #F5F5F5 | Light colors make space feel larger
| Floor Accessories | Anti-fatigue mat at sink, Washable kitchen rug | Heated flooring (optional) | Mat: 20x36" minimum | Practical additions for comfort
WALL TREATMENT
| Paint - Primary | Pure white: Asian Paints Snow White #FFFFFF | Warm white: Ivory Coast #FAF6F0, Off-white: #F5F5F5 | Washable/scrubbable emulsion ¦ Matte or eggshell | White walls maximize light reflection
| Paint - Accent | Charcoal: #36454F, Navy: #1B365D, Forest: #2C5530 | Burgundy: #722F37, Teal: #008080, Mustard: #FFDB58 | Feature wall behind open shelving | One bold accent wall maximum
| Accent Wall Options | Textured paint/wall panels, PVC wall panels | Stone veneer, Exposed brick (faux), 3D MDF panels | Behind dining zone or open shelving | Texture adds depth without color
| Open Shelving Styling | Minimal items, curated display, matching containers | Plants, cookbooks, decorative jars | Less is more approach | Instagram-worthy organized display
| Additional HEX Codes | Blush: #E8B4B8, Olive: #808000, Terracotta: #E07B53 | Gold accent: #D4AF37, Silver: #C0C0C0, Copper: #B87333 | For accessories and accents | Metallic accents add luxury
CEILING
| Treatment - Primary | Flat white gypsum/POP ceiling | Peripheral false ceiling with cove lighting | Height: 9-10 feet standard ¦ Drop: 6-9" | Clean simple ceiling most modern
| Treatment - Secondary | Coffered ceiling (simple grid), Wooden rafters | Stretch ceiling, Metal ceiling panels | Cove: LED strip 4000K ¦ Dimmable | Cove lighting adds ambiance
| Ceiling Features | Integrated chimney duct boxing, AC vent integration | Recessed track for pendants, Service hatch | Plan all services before ceiling | Hide all services cleanly
| Color | Pure white, Matching wall white | Light gray for drama, Wood tone accents | White reflects maximum light | Never dark in kitchen ceiling
ACCESSORIES
| Decorative - Display | Matching canister sets, Minimalist vases | Designer fruit bowl, Cookbook stand | Curated, cohesive collection | Quality over quantity
| Decorative - Art | Modern abstract print, Typography art | Framed recipe, Metal wall art, Clock | Scale appropriate to wall space | One statement piece
| Decorative - Nature | Potted herbs (basil, mint), Money plant | Succulents, Air plants, Small indoor plant | Low-maintenance varieties | Greenery softens modern spaces
| Functional | Matching storage containers (glass/steel) | Knife block, Spice rack, Paper towel holder | Coordinate finishes with hardware | Functional items as decor
| Smart Home | Smart plugs, Voice-controlled lights | Smart display/hub, Connected appliances | Alexa/Google Home integration | Tech-forward modern kitchen
10 MODERN INDIAN COLOR PALETTES
Palette Name | Primary (60%) | Primary HEX | Secondary (30%) | Secondary HEX | Accent (10%) | Accent HEX
Urban Minimal | Pure White | #FFFFFF | Charcoal Gray | #36454F | Matte Black | #1C1C1C
Warm Contemporary | Warm White | #FAF6F0 | Walnut Wood | #5D4037 | Champagne Gold | #D4AF37
Bold Statement | White | #FFFFFF | Navy Blue | #1B365D | Brass | #B5A642
Earthy Modern | Cream | #FFF8E7 | Olive Green | #556B2F | Terracotta | #E07B53
Sleek Monochrome | Light Gray | #E5E5E5 | Dark Gray | #4A4A4A | Chrome Silver | #C0C0C0
Luxe Indian | Ivory | #FFFFF0 | Deep Maroon | #722F37 | Gold | #FFD700
Fresh & Bright | White | #FFFFFF | Mint Green | #98FF98 | Coral | #FF7F50
Industrial Chic | Concrete Gray | #95A5A6 | Matte Black | #1C1C1C | Copper | #B87333
Nature Inspired | Off-White | #F5F5DC | Forest Green | #228B22 | Mustard | #FFDB58
Contemporary Glam | White | #FFFFFF | Blush Pink | #E8B4B8 | Rose Gold | #B76E79
MODERN INDIAN KITCHEN STYLE NOTES
Overall Mood: | Clean, efficient, and sophisticated design that combines international modular kitchen standards with specific adaptations for Indian cooking needs. Technology-forward, clutter-free, and highly functional.
Key Principles:
1. | Handle-less or minimal hardware for sleek, uninterrupted surfaces
2. | High-gloss or matte finishes in neutral color palette with bold accents
3. | Smart storage solutions - every inch utilized with modular fittings
4. | Large format tiles/slabs minimize grout lines and visual clutter
5. | Integrated appliances for seamless appearance
6. | Task lighting layered with ambient and accent lighting
7. | Quality materials - quartz counters, soft-close hardware, SS/granite sinks
Popular Layouts for Indian Homes:
L-Shaped: | Most popular for 2-3 BHK apartments; efficient work triangle
U-Shaped: | Maximum storage and counter space; ideal for serious cooking
Parallel: | Efficient for narrow spaces; good workflow for two cooks
Island: | For larger kitchens; adds prep space, seating, and social element
G-Shaped: | U-shape with peninsula; extra counter and breakfast bar
What to Avoid:
• | Ornate details, decorative moldings, or traditional elements
• | Too many colors or patterns competing for attention
• | Visible clutter - everything needs a storage home
• | Cheap hardware that fails with heavy use
• | Inadequate ventilation for Indian cooking
• | Ignoring the work triangle (sink-hob-fridge relationship)
Indian Kitchen Specifics:
• | Wet/Dry Kitchen: Highly recommended - separate enclosed cooking zone for tadka/frying with 1500+ m³/hr chimney; open modern kitchen for prep, serving, socializing
• | Masala Storage: Pull-out spice racks in base cabinet near hob; airtight containers essential; dedicated masala drawer with dividers
• | Pressure Cooker Zone: Reinforced countertop area near hob; deep drawer for cooker storage; adequate clearance above
• | Heavy Cooking Ventilation: 1200-1500 m³/hr auto-clean chimney mandatory; ducted to exterior; maintain make-up air
• | Oil Splatter Protection: Full-height backsplash (counter to upper cabinet); glass or large format porcelain for easy cleaning
• | Tandoor/Tawa Space: High-BTU burner for roti/paratha; consider separate tawa burner or built-in tawa
• | Vessel Storage: Deep drawers for large kadais, pressure cookers; pull-out cabinet for heavy items
• | Water Purifier: Built-in RO unit with dedicated tap or counter space; plan plumbing accordingly
• | Servant/Helper Consideration: If household help cooks, ensure ergonomic design; consider their height and preferences

## Item Checklist
MODERN INDIAN KITCHEN - 3D RENDER CHECKLIST
Check items to include in visualization
Category | Item | Include? | Priority | Notes
CABINETRY
| Handle-less base cabinets (J-pull/G-pull profile) | ☐ | High | Signature modern element
| High-gloss or matte laminate finish | ☐ | High | Acrylic/PU/laminate options
| Tall pantry unit with pull-out larder | ☐ | High | Essential for Indian spices
| Lift-up wall cabinets (Aventos system) | ☐ | Medium | Modern functionality
| Glass-front display cabinets with LED | ☐ | Medium | Frosted or fluted glass
| Island with waterfall edge | ☐ | High | Statement piece
| Breakfast bar/counter overhang | ☐ | Medium | Seating integration
COUNTERTOPS
| Quartz countertop - white with veining | ☐ | High | Calacatta or Statuario look
| Waterfall edge on island | ☐ | High | Continuous grain wrap
| Integrated sink (undermount) | ☐ | High | Seamless look
BACKSPLASH
| Large format porcelain (600x1200mm) | ☐ | High | Minimal grout lines
| Back-painted glass behind hob | ☐ | Medium | Easy-clean alternative
| Full height (counter to upper cabinet) | ☐ | High | Essential for Indian cooking
SINK & FAUCET
| Large undermount single bowl SS sink | ☐ | High | For Indian vessels
| Pull-down spray faucet - matte black | ☐ | High | Contemporary styling
| Soap dispenser - matching finish | ☐ | Low | Integrated accessory
APPLIANCES
| Built-in gas hob (4-5 burner) | ☐ | High | High BTU for Indian cooking
| Auto-clean chimney (1200+ m³/hr) | ☐ | High | Critical for Indian kitchen
| Built-in oven + microwave tower | ☐ | Medium | Eye-level installation
| Side-by-side or French door refrigerator | ☐ | High | Counter-depth if possible
| Built-in dishwasher (panel-ready) | ☐ | Medium | Integrated look
LIGHTING
| Linear LED pendant over island | ☐ | High | Statement lighting
| Under-cabinet LED strip (4000K) | ☐ | High | Essential task lighting
| Recessed ceiling lights | ☐ | High | Even ambient light
| In-cabinet LED lighting | ☐ | Medium | Glass cabinet highlight
| Cove lighting in false ceiling | ☐ | Medium | Ambient glow
FLOORING
| Large format vitrified tiles (800x1600mm) | ☐ | High | Seamless modern look
| Light gray or white marble look | ☐ | High | Most popular choice
| Continuous flooring to living area | ☐ | Medium | Open plan continuity
WALLS & CEILING
| Pure white walls - washable paint | ☐ | High | Clean backdrop
| Peripheral false ceiling with cove | ☐ | Medium | Integrated lighting
| Accent wall - texture/color | ☐ | Low | Behind dining or shelving
STORAGE ACCESSORIES
| Pull-out spice rack/masala drawer | ☐ | High | Near hob placement
| Corner carousel/magic corner | ☐ | High | Maximize corner space
| Tandem drawers in base units | ☐ | High | Utensil organization
| Tall unit internal fittings | ☐ | High | Pantry organization
| Cutlery insert/drawer organizer | ☐ | Medium | Systematic storage
| Bottle pull-out (oil/sauce storage) | ☐ | Medium | Near hob
SEATING
| Modern bar stools - counter height | ☐ | Medium | At island/breakfast bar
| Upholstered or metal frame | ☐ | Medium | Match overall aesthetic
ACCESSORIES - ESSENTIAL
| Matching stainless steel canister set | ☐ | Medium | Counter storage
| Potted herb plant (basil/mint) | ☐ | Medium | Greenery accent
| Minimalist fruit bowl | ☐ | Low | Counter styling
| Contemporary knife block | ☐ | Low | Functional decor
| Designer paper towel holder | ☐ | Low | Matching hardware finish
| Smart display/tablet stand | ☐ | Low | Recipe viewing

## Shutter Finish Summary
MODERN INDIAN KITCHEN - 40 SHUTTER FINISH COMBINATIONS
Contemporary finishes, sleek profiles, and sophisticated color combinations
# | Finish Combination | Lower Cabinets | Upper Cabinets | Price Tier | Style Rating | Style Description
SOLID COLORS
1 | Pure White Gloss | High-gloss white acrylic #FFFFFF | High-gloss white acrylic #FFFFFF | Premium | ★★★★★ | Timeless clean modern
2 | Matte White | Matte white PU/laminate #FFFFFF | Matte white PU/laminate #FFFFFF | Mid | ★★★★★ | Sophisticated understated
3 | Charcoal Statement | Matte charcoal #36454F | Matte charcoal #36454F | Premium | ★★★★★ | Bold contemporary drama
4 | Warm Gray | Matte gray #9E9E9E | Matte gray #9E9E9E | Mid | ★★★★☆ | Versatile neutral
5 | Navy Luxe | High-gloss navy #1B365D | High-gloss navy #1B365D | Premium | ★★★★★ | Rich sophisticated color
6 | Forest Modern | Matte forest green #2C5530 | Matte forest green #2C5530 | Premium | ★★★★☆ | Nature-inspired elegance
7 | Burgundy Classic | High-gloss burgundy #722F37 | High-gloss burgundy #722F37 | Premium | ★★★★☆ | Indian luxury aesthetic
8 | Black Elegance | Matte black #1C1C1C | Matte black #1C1C1C | Premium | ★★★★★ | Ultimate drama
TWO-TONE COMBINATIONS
9 | Classic Contrast | Charcoal matte #36454F | White gloss #FFFFFF | Premium | ★★★★★ | Best-selling combination
10 | Warm Wood + White | Wood grain laminate (walnut) | White matte #FFFFFF | Mid | ★★★★★ | Warm contemporary
11 | Navy + White | Navy matte #1B365D | White gloss #FFFFFF | Premium | ★★★★★ | Sophisticated nautical
12 | Gray + White | Dark gray #4A4A4A | Light gray #E5E5E5 | Mid | ★★★★☆ | Tonal elegance
13 | Black + Wood | Matte black #1C1C1C | Oak wood grain | Premium | ★★★★★ | Industrial warmth
14 | White + Gold Island | White matte #FFFFFF | White + champagne gold accent | Premium+ | ★★★★★ | Luxe Indian modern
WOOD FINISHES
15 | Natural Oak | Light oak wood grain laminate | Light oak wood grain laminate | Mid | ★★★★☆ | Scandinavian influence
16 | Walnut Rich | Dark walnut laminate #5D4037 | Dark walnut laminate #5D4037 | Mid | ★★★★★ | Classic warm wood
17 | Teak Contemporary | Teak wood grain laminate | Teak wood grain laminate | Mid | ★★★★☆ | Indian classic updated
18 | Gray Oak | Gray-washed oak laminate | Gray-washed oak laminate | Mid | ★★★★☆ | Modern rustic
19 | Ebony Luxe | Dark ebony laminate #1C1410 | Dark ebony laminate #1C1410 | Premium | ★★★★☆ | Dramatic dark wood
20 | Veneer Authentic | Real wood veneer - walnut | Real wood veneer - walnut | Premium+ | ★★★★★ | Premium natural material
WOOD + COLOR COMBINATIONS
21 | Walnut + White | Walnut wood grain | White matte #FFFFFF | Premium | ★★★★★ | Bestseller warm modern
22 | Oak + Sage | Light oak laminate | Sage green matte #9CAF88 | Premium | ★★★★☆ | Nature-inspired fresh
23 | Teak + Charcoal | Teak wood grain | Charcoal matte #36454F | Premium | ★★★★★ | Sophisticated contrast
24 | Gray Oak + Navy | Gray oak laminate | Navy matte #1B365D | Premium | ★★★★★ | Contemporary classic
TEXTURED/PATTERN OPTIONS
25 | Vertical Groove | White with vertical V-groove | White with vertical V-groove | Mid | ★★★★☆ | Subtle texture detail
26 | Horizontal Line | Charcoal with horizontal lines | Charcoal with horizontal lines | Premium | ★★★★☆ | Linear modern
27 | Concrete Effect | Concrete texture laminate | Concrete texture laminate | Premium | ★★★★☆ | Industrial contemporary
28 | Linen Texture | Linen embossed laminate - gray | Linen embossed laminate - gray | Mid | ★★★★☆ | Soft tactile interest
29 | Stone Effect | Stone texture laminate | Stone texture laminate | Premium | ★★★★☆ | Natural material look
30 | Anti-Fingerprint | AFP matte dark gray | AFP matte dark gray | Premium | ★★★★★ | Practical + stylish
GLASS/DISPLAY OPTIONS
31 | Frosted Glass + White | White matte slab | Frosted glass aluminum frame | Premium | ★★★★★ | Modern display option
32 | Fluted Glass + Charcoal | Charcoal matte | Fluted glass + charcoal frame | Premium+ | ★★★★★ | Textured transparency
33 | Back-painted Glass | Black glass slab #1C1C1C | Black glass slab #1C1C1C | Premium+ | ★★★★★ | High-gloss luxury
34 | LED Glass Cabinet | White matte | Clear glass + LED + white frame | Premium+ | ★★★★★ | Illuminated display
METAL ACCENT OPTIONS
35 | Aluminum Frame | White + aluminum J-profile | White + aluminum J-profile | Premium | ★★★★★ | Sleek metallic detail
36 | Gold Profile Accent | White matte | White + champagne gold gola | Premium+ | ★★★★★ | Luxe Indian touch
37 | Black Metal Frame | Charcoal + black metal frame | Charcoal + black metal frame | Premium+ | ★★★★★ | Industrial modern
38 | Copper Accent | Navy matte | Navy + copper handle accent | Premium+ | ★★★★☆ | Warm metallic pop
CONTEMPORARY/UNIQUE
39 | Three-Zone Design | Charcoal base, white mid, wood tall | Multi-material zones | Premium+ | ★★★★★ | Designer approach
40 | Fenix NTM | Fenix matte black (self-healing) | Fenix matte black (self-healing) | Premium+ | ★★★★★ | Ultimate premium material